## Costs
Solar PV costs
NREL 2017 Cost data | [5 empty] | NREL 2017 LCOE | [5 empty] | Cranbrook cost table
| Residential | Commercial | Commercial | Utility-scale | Utility-scale |  | Residential | Commercial | Utility-Scale |  |  |  | Residential | Commercial | Commercial | Utility-Scale | Utility-Scale | Latitude Tilt
| 5.7 kW | 200 kW | 1 MW | 5 MW | 1-axis 100 MW |  | 5.7 kW | 200 kW | 100 MW |  |  |  | 5.7 kW | 200 kW | 1 MW | 5 MW | 100 MW | Insolation
Year | ($US/Wdc) | ($US/Wdc) | ($US/Wdc) | ($US/Wdc) | ($US/Wdc) | Location | US$/MWh | US$/MWh | US$/MWh |  |  | Location | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | (kWh/m2/day)
2010 | 7.24 | 5.36 | 5.376 | 5.4 | 5.44 | Phoenix | 129 | 92 | 44 |  |  | Phoenix | 161.25 | 115 | 103 | 85 | 55 | 6.5
2011 | 6.34 | 4.97 | 4.894 | 4.78 | 4.59 | Kansas City | 157 | 113 | 56 |  |  | Kansas City | 196.25 | 141.25 | 127 | 105.625 | 70 | 4.9
2012 | 4.48 | 3.42 | 3.366 | 3.285 | 3.15 | New York | 167 | 120 | 61 |  |  | New York | 208.75 | 150 | 135.25 | 113.125 | 76.25 | 4.6
2013 | 3.92 | 2.78 | 2.702 | 2.585 | 2.39 | [6 empty] | Cranbrook | 215.7865 | 155.0562 | 139.809 | 116.9382 | 78.8202 | 4.45
2014 | 3.44 | 2.76 | 2.638 | 2.455 | 2.15 | Exchange rate: | 1.25
2015 | 3.18 | 2.27 | 2.21 | 2.12 | 1.97 |  | Residential | Commercial | Commercial | Utility-Scale | Utility-Scale | Cranbrook price projection table for 2040 (see section 2 of report)
2016 | 2.98 | 2.17 | 2.03 | 1.92 | 1.54 |  | 5.7 kW | 200 kW | 1 MW | 5 MW | 100 MW |  | Residential | Commercial | Commercial | Utility-Scale | Utility-Scale
2017 | 2.8 | 1.85 | 1.74 | 1.49 | 1.11 | Location | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) |  | 5.7 kW | 200 kW | 1 MW | 5 MW | 100 MW
Three year | -18.6% | -32.97% | -34.04% | -39.31% | -48.37% | Phoenix | 161.25 | 115 | 103 | 85 | 55 | Cranbrook | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh)
Two year | -11.95% | -18.5% | -21.27% | -29.72% | -43.65% | Kansas City | 196.25 | 141.25 | 127 | 105.625 | 70 | 2017 | 215.7865 | 155.0562 | 139.809 | 116.9382 | 78.8202
One year | -6.04% | -14.75% | -14.29% | -22.4% | -27.92% | New York | 208.75 | 150 | 135.25 | 113.125 | 76.25 | Small decline | 50% | 40% | 40% | 25% | 25%
[12 empty] | Large decline | 60% | 50% | 50% | 50% | 50%
NREL 2017 Cost declines | [11 empty] | High in 2040 | 107.8933 | 93.0337 | 83.8854 | 87.7037 | 59.1152
| Residential | Commercial | Commercial | Utility-scale | Utility-scale | [6 empty] | Low in 2040 | 86.3146 | 77.5281 | 69.9045 | 58.4691 | 39.4101
| 5.7 kW | 200 kW | 1 MW | 5 MW | 1-axis 100 MW
Year | %/year | %/year | %/year | %/year | %/year
2011 | -0.12431 | -0.072761 | -0.089658 | -0.11481 | -0.15625 | [6 empty] | Cranbrook future solar PV costs
2012 | -0.29338 | -0.31187 | -0.31222 | -0.31276 | -0.31373 | [7 empty] | Residential | Commercial | Commercial | Utility-Scale | Utility-Scale
2013 | -0.125 | -0.18713 | -0.19727 | -0.21309 | -0.24127 | [7 empty] | 5.7 kW | 200 kW | 1 MW | 5 MW | 100 MW
2014 | -0.12245 | -0.0071942 | -0.023686 | -0.05029 | -0.10042 | [6 empty] | Year | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh)
2015 | -0.075581 | -0.17754 | -0.16224 | -0.13646 | -0.083721 | [6 empty] | 2017 | 215.7865 | 155.0562 | 139.809 | 116.9382 | 78.8202
2016 | -0.062893 | -0.044053 | -0.081448 | -0.09434 | -0.21827 | [6 empty] | Small decline | 50% | 40% | 40% | 25% | 25%
2017 | -0.060403 | -0.14747 | -0.14286 | -0.22396 | -0.27922 | [6 empty] | Large decline | 60% | 50% | 50% | 50% | 50%
6-yr (%/year) | -0.12343 | -0.13543 | -0.1442 | -0.16367 | -0.19898 | [6 empty] | High in 2025 | 146.245 | 100.9878 | 90.5283 | 88.7522 | 59.487
3-yr (%/year) | -0.066292 | -0.12302 | -0.12885 | -0.15158 | -0.19374 | [6 empty] | High in 2030 | 126.692 | 95.2865 | 85.7059 | 88.1035 | 59.0167
[12 empty] | High in 2035 | 115.0106 | 93.4633 | 84.2349 | 88.0314 | 58.9624
[12 empty] | High in 2040 | 107.7404 | 92.8632 | 83.7736 | 88.0234 | 58.9561
[12 empty] | Low in 2025 | 138.7286 | 92.4417 | 82.4116 | 65.8989 | 44.4181
[12 empty] | Low in 2030 | 113.6278 | 83.5141 | 74.6753 | 60.2459 | 40.6077
[12 empty] | Low in 2035 | 97.1944 | 79.9394 | 71.6773 | 58.2874 | 39.2877
[12 empty] | Low in 2040 | 85.9985 | 78.442 | 70.4625 | 57.5792 | 38.8103

## Energy
Annual energy by rate class ang generating facility
Average customer use by rate class/category
| Residential | General Service | General Service | Large Industrial | Large Industrial
| Tier 2 | MGS | LGS | 1823B | 1823A/1827
Year | (GWh/year) | (GWh/year) | (GWh/year) | (GWh/year) | (GWh/year)
F2017 | 7111 | 3480.92 | 11089 | 10389 | 2924
F2018 | 7141 | 3474.18 | 11068 | 9834 | 3341
F2019 | 7195 | 3498.68 | 11146 | 9687 | 4046
Customers by rate class
| Residential | General Service | General Service | Large Industrial
| Number of customers | Number of customers | Number of customers | Number of customers
F2017 | 1742398 | 16633 | 7003 | 186
F2018 | 1769236 | 16853 | 7095 | 188
F2019 | 1794716 | 17019 | 7165 | 192
Annual energy consumption by rate class
| Residential | General Service | General Service | Large Industrial
| Average | Average | Average | Average
Year | (MWh/year) | (MWh/year) | (MWh/year) | (MWh/year)
F2017 | 4.0812 | 209.2779 | 1583.4642 | 71575.2688
F2018 | 4.0362 | 206.1461 | 1559.9718 | 70079.7872
F2019 | 4.009 | 205.5749 | 1555.6176 | 71526.0417
Generation by solar facility size
| Residential | Commercial | Commercial | Utility-Scale | Utility-Scale
| 5.7 kW | 200 kW | 1 MW | 5 MW | 100 MW
Size (MW) | 0.0057 | 0.2 | 1 | 5 | 100
Hours | 8760 | 8760 | 8760 | 8760 | 8760
C.F. | 0.15 | 0.15 | 0.18 | 0.18 | 0.18
(MWh/year) | 7.4898 | 262.8 | 1576.8 | 7884 | 157680
Notes:
Sources: RRA response to IR.BCUC 2.203.1 and IR.BCUC 1.4.4
MGS and LGS GWh/year include for both the Tier 1 and Tier 2 rates prior to the RDA decision to switch to flat rates

## 5.7kW
Residential Rates - 5.7 kW PV by Region
| 5.7 kW - Cranbrook - High |  | 5.7 kW - Cranbrook - Low |  | Residential Tier 2 (0%) |  | Residential Tier 2 (1%) |  | Residential Tier 1 (0%) |  | Residential Tier 1 (1%)
| UEC-POI | Decline | UEC-POI | Decline | UEC-POI | Inflation | UEC-POI | Inflation | UEC-POI | Inflation | UEC-POI | Inflation
Year | $/MWh | -6.629% | $/MWh | -6.629% | $/MWh | 0% | $/MWh | 1% | $/MWh | 0% | $/MWh | 1%
2017 | 215.7865 | -6.132% | 215.7865 | -6.318% | 140.8995 | 2% | 140.8995 | 2% | 94.5945 | 2% | 94.5945 | 2%
2018 | 202.5544 | -5.672% | 202.1538 | -6.021% | 143.7175 | 1.5% | 143.7175 | 1.5% | 96.4864 | 1.5% | 96.4864 | 1.5%
2019 | 191.0652 | -5.247% | 189.9827 | -5.738% | 145.8733 | 1% | 145.8733 | 1% | 97.9337 | 1% | 97.9337 | 1%
2020 | 181.0405 | -4.853% | 179.082 | -5.468% | 147.332 | 0.6% | 147.332 | 0.6% | 98.913 | 0.6% | 98.913 | 0.6%
2021 | 172.2542 | -4.489% | 169.2896 | -5.211% | 148.216 | 0.6% | 148.216 | 0.6% | 99.5065 | 0.6% | 99.5065 | 0.6%
2022 | 164.5213 | -4.153% | 160.4678 | -4.966% | 149.1053 | 0.6% | 149.1053 | 0.6% | 100.1035 | 0.6% | 100.1035 | 0.6%
2023 | 157.6895 | -3.841% | 152.4987 | -4.733% | 149.9999 | 0.6% | 149.9999 | 0.6% | 100.7042 | 0.6% | 100.7042 | 0.6%
2024 | 151.6325 | -3.553% | 145.2813 | -4.51% | 150.8999 | 0.6% | 150.8999 | 0.6% | 101.3084 | 0.6% | 101.3084 | 0.6%
2025 | 146.245 | -3.287% | 138.7286 | -4.298% | 151.8053 | 0% | 151.8053 | 1% | 101.9162 | 0% | 101.9162 | 1%
2026 | 141.4386 | -3.04% | 132.7656 | -4.096% | 151.8053 | 0% | 153.3234 | 1% | 101.9162 | 0% | 102.9354 | 1%
2027 | 137.1388 | -2.812% | 127.3271 | -3.904% | 151.8053 | 0% | 154.8566 | 1% | 101.9162 | 0% | 103.9648 | 1%
2028 | 133.2824 | -2.601% | 122.3566 | -3.72% | 151.8053 | 0% | 156.4052 | 1% | 101.9162 | 0% | 105.0044 | 1%
2029 | 129.8155 | -2.406% | 117.8045 | -3.545% | 151.8053 | 0% | 157.9692 | 1% | 101.9162 | 0% | 106.0544 | 1%
2030 | 126.692 | -2.226% | 113.6278 | -3.379% | 151.8053 | 0% | 159.5489 | 1% | 101.9162 | 0% | 107.115 | 1%
2031 | 123.8724 | -2.059% | 109.7886 | -3.22% | 151.8053 | 0% | 161.1444 | 1% | 101.9162 | 0% | 108.1861 | 1%
2032 | 121.3222 | -1.904% | 106.2534 | -3.069% | 151.8053 | 0% | 162.7558 | 1% | 101.9162 | 0% | 109.268 | 1%
2033 | 119.0119 | -1.761% | 102.9928 | -2.924% | 151.8053 | 0% | 164.3834 | 1% | 101.9162 | 0% | 110.3607 | 1%
2034 | 116.9156 | -1.629% | 99.9808 | -2.787% | 151.8053 | 0% | 166.0272 | 1% | 101.9162 | 0% | 111.4643 | 1%
2035 | 115.0106 | -1.507% | 97.1944 | -2.656% | 151.8053 | 0% | 167.6875 | 1% | 101.9162 | 0% | 112.5789 | 1%
2036 | 113.2772 | -1.394% | 94.6129 | -2.531% | 151.8053 | 0% | 169.3644 | 1% | 101.9162 | 0% | 113.7047 | 1%
2037 | 111.698 | -1.29% | 92.2181 | -2.412% | 151.8053 | 0% | 171.058 | 1% | 101.9162 | 0% | 114.8418 | 1%
2038 | 110.2576 | -1.193% | 89.9936 | -2.299% | 151.8053 | 0% | 172.7686 | 1% | 101.9162 | 0% | 115.9902 | 1%
2039 | 108.9424 | -1.103% | 87.9248 | -2.191% | 151.8053 | 0% | 174.4963 | 1% | 101.9162 | 0% | 117.1501 | 1%
2040 | 107.7404 | -1.021% | 85.9985 | -2.088% | 151.8053 | 0% | 176.2412 | 1% | 101.9162 | 0% | 118.3216 | 1%
2041 | 106.6407 | -0.9441% | 84.203 | -1.99% | 151.8053 | 0% | 178.0037 | 1% | 101.9162 | 0% | 119.5048 | 1%
2042 | 105.634 | -0.8733% | 82.5277 | -1.896% | 151.8053 | 0% | 179.7837 | 1% | 101.9162 | 0% | 120.6999 | 1%
Decay |  | 92.5% |  | 95.3%
Target | 107.8933 |  | 86.3146
Notes:
All solar cost values in $2017 Canadian dollars
Source of initial solar costs: NREL U.S. Solar Photovoltaic System Cost Benchmark: Q1 2017
Electricity prices grow at 1.0% or 0.0% real
The "decay" value alters the decline in price in order to hit the target value in 2040

## 200kW
Commercial MGS Rates - 200 kW
| 200 kW - Cranbrook - High |  | 200 kW - Cranbrook - Low |  | MGS-0% |  | MGS-1%
| UEC-POI | Decline | UEC-POI | Decline | UEC-POI | Inflation | UEC-POI | Inflation
Year | $/MWh | -12.3% | $/MWh | -12.3% | $/MWh | 0% | $/MWh | 1%
2017 | 155.0562 | -9.878% | 155.0562 | -10.41% | 97.02 | 2% | 97.02 | 2%
2018 | 139.7392 | -7.932% | 138.919 | -8.805% | 98.9604 | 1.5% | 98.9604 | 1.5%
2019 | 128.6546 | -6.37% | 126.6877 | -7.449% | 100.4448 | 1% | 100.4448 | 1%
2020 | 120.4598 | -5.115% | 117.2511 | -6.302% | 101.4493 | 0.6% | 101.4493 | 0.6%
2021 | 114.2984 | -4.107% | 109.8624 | -5.331% | 102.0579 | 0.6% | 102.0579 | 0.6%
2022 | 109.604 | -3.298% | 104.0055 | -4.51% | 102.6703 | 0.6% | 102.6703 | 0.6%
2023 | 105.9891 | -2.648% | 99.3147 | -3.816% | 103.2863 | 0.6% | 103.2863 | 0.6%
2024 | 103.1821 | -2.127% | 95.5252 | -3.228% | 103.906 | 0.6% | 103.906 | 0.6%
2025 | 100.9878 | -1.708% | 92.4417 | -2.731% | 104.5295 | 0% | 104.5295 | 1%
2026 | 99.2633 | -1.371% | 89.9172 | -2.31% | 104.5295 | 0% | 105.5748 | 1%
2027 | 97.9021 | -1.101% | 87.8398 | -1.955% | 104.5295 | 0% | 106.6305 | 1%
2028 | 96.8241 | -0.8842% | 86.123 | -1.654% | 104.5295 | 0% | 107.6968 | 1%
2029 | 95.9679 | -0.71% | 84.6989 | -1.399% | 104.5295 | 0% | 108.7738 | 1%
2030 | 95.2865 | -0.5701% | 83.5141 | -1.183% | 104.5295 | 0% | 109.8615 | 1%
2031 | 94.7433 | -0.4578% | 82.5257 | -1.001% | 104.5295 | 0% | 110.9601 | 1%
2032 | 94.3095 | -0.3676% | 81.6994 | -0.847% | 104.5295 | 0% | 112.0697 | 1%
2033 | 93.9628 | -0.2952% | 81.0074 | -0.7166% | 104.5295 | 0% | 113.1904 | 1%
2034 | 93.6854 | -0.2371% | 80.4269 | -0.6062% | 104.5295 | 0% | 114.3223 | 1%
2035 | 93.4633 | -0.1904% | 79.9394 | -0.5129% | 104.5295 | 0% | 115.4656 | 1%
2036 | 93.2854 | -0.1529% | 79.5294 | -0.4339% | 104.5295 | 0% | 116.6202 | 1%
2037 | 93.1428 | -0.1227% | 79.1843 | -0.3671% | 104.5295 | 0% | 117.7864 | 1%
2038 | 93.0285 | -0.09856% | 78.8937 | -0.3105% | 104.5295 | 0% | 118.9643 | 1%
2039 | 92.9368 | -0.07915% | 78.6487 | -0.2627% | 104.5295 | 0% | 120.1539 | 1%
2040 | 92.8632 | -0.06355% | 78.442 | -0.2223% | 104.5295 | 0% | 121.3555 | 1%
2041 | 92.8042 | -0.05103% | 78.2677 | -0.188% | 104.5295 | 0% | 122.569 | 1%
2042 | 92.7569 | -0.04098% | 78.1205 | -0.1591% | 104.5295 | 0% | 123.7947 | 1%
Decay |  | 80.3% |  | 84.6%
Target | 93.0337 |  | 77.5281
Notes:
All solar cost values in $2017 Canadian dollars
Source of initial solar costs: NREL U.S. Solar Photovoltaic System Cost Benchmark: Q1 2017
Electricity prices grow at 1.0% or 0.0% real
The "decay" value alters the decline in price in order to hit the target value in 2040

## 1MW
Commercial LGS Rates - 1 MW PV
| 1 MW - Cranbrook - High |  | 1 MW - Cranbrook - Low |  | LGS-0% |  | LGS-1%
| UEC-POI | Decline | UEC-POI | Decline | UEC-POI | Inflation | UEC-POI | Inflation
Year | $/MWh | -12.88% | $/MWh | -12.88% | $/MWh | 0% | $/MWh | 1%
2017 | 139.809 | -10.24% | 139.809 | -10.82% | 60.6375 | 2% | 60.6375 | 2%
2018 | 125.4876 | -8.144% | 124.6769 | -9.092% | 61.8503 | 1.5% | 61.8503 | 1.5%
2019 | 115.2683 | -6.474% | 113.3418 | -7.637% | 62.778 | 1% | 62.778 | 1%
2020 | 107.8057 | -5.147% | 104.6859 | -6.415% | 63.4058 | 0.6% | 63.4058 | 0.6%
2021 | 102.2569 | -4.092% | 97.9702 | -5.389% | 63.7862 | 0.6% | 63.7862 | 0.6%
2022 | 98.0727 | -3.253% | 92.6909 | -4.526% | 64.1689 | 0.6% | 64.1689 | 0.6%
2023 | 94.8824 | -2.586% | 88.4953 | -3.802% | 64.5539 | 0.6% | 64.5539 | 0.6%
2024 | 92.4286 | -2.056% | 85.1305 | -3.194% | 64.9413 | 0.6% | 64.9413 | 0.6%
2025 | 90.5283 | -1.635% | 82.4116 | -2.683% | 65.3309 | 0% | 65.3309 | 1%
2026 | 89.0486 | -1.299% | 80.2006 | -2.254% | 65.3309 | 0% | 65.9842 | 1%
2027 | 87.8915 | -1.033% | 78.3932 | -1.893% | 65.3309 | 0% | 66.6441 | 1%
2028 | 86.9835 | -0.8213% | 76.9092 | -1.59% | 65.3309 | 0% | 67.3105 | 1%
2029 | 86.2691 | -0.6529% | 75.6862 | -1.336% | 65.3309 | 0% | 67.9836 | 1%
2030 | 85.7059 | -0.5191% | 74.6753 | -1.122% | 65.3309 | 0% | 68.6635 | 1%
2031 | 85.261 | -0.4127% | 73.8374 | -0.9425% | 65.3309 | 0% | 69.3501 | 1%
2032 | 84.9092 | -0.3281% | 73.1415 | -0.7917% | 65.3309 | 0% | 70.0436 | 1%
2033 | 84.6306 | -0.2608% | 72.5625 | -0.665% | 65.3309 | 0% | 70.744 | 1%
2034 | 84.4099 | -0.2073% | 72.0799 | -0.5586% | 65.3309 | 0% | 71.4515 | 1%
2035 | 84.2349 | -0.1648% | 71.6773 | -0.4692% | 65.3309 | 0% | 72.166 | 1%
2036 | 84.096 | -0.131% | 71.3409 | -0.3942% | 65.3309 | 0% | 72.8876 | 1%
2037 | 83.9858 | -0.1042% | 71.0597 | -0.3311% | 65.3309 | 0% | 73.6165 | 1%
2038 | 83.8983 | -0.08282% | 70.8244 | -0.2781% | 65.3309 | 0% | 74.3527 | 1%
2039 | 83.8288 | -0.06585% | 70.6275 | -0.2336% | 65.3309 | 0% | 75.0962 | 1%
2040 | 83.7736 | -0.05235% | 70.4625 | -0.1962% | 65.3309 | 0% | 75.8472 | 1%
2041 | 83.7298 | -0.04162% | 70.3242 | -0.1648% | 65.3309 | 0% | 76.6056 | 1%
2042 | 83.6949 | -0.03308% | 70.2083 | -0.1385% | 65.3309 | 0% | 77.3717 | 1%
Decay |  | 79.5% |  | 84%
Target | 83.8854 |  | 69.9045
Notes:
All solar cost values in $2017 Canadian dollars
Source of initial solar costs: NREL U.S. Solar Photovoltaic System Cost Benchmark: Q1 2017
Electricity prices grow at 1.0% or 0.0% real
The "decay" value alters the decline in price in order to hit the target value in 2040

## 5MW
Large Industrial Rates - 5 MW
| 5 MW - Cranbrook - High |  | 5 MW - Cranbrook - Low |  | 1823A-0% |  | 1823A-1% |  | 1823B-0% |  | 1823B-1%
| UEC-POI | Decline | UEC-POI | Decline | UEC-POI | Inflation | UEC-POI | Inflation | UEC-POI | Inflation | UEC-POI | Inflation
Year | $/MWh | -15.16% | $/MWh | -15.16% | $/MWh | 0% | $/MWh | 1% | $/MWh | 0% | $/MWh | 1%
2017 | 116.9382 | -9.777% | 116.9382 | -12.43% | 51.0678 | 2% | 51.0678 | 2% | 45.423 | 2% | 45.423 | 2%
2018 | 105.5049 | -6.306% | 102.4028 | -10.19% | 52.0892 | 1.5% | 52.0892 | 1.5% | 46.3315 | 1.5% | 46.3315 | 1.5%
2019 | 98.8514 | -4.068% | 91.9654 | -8.358% | 52.8705 | 1% | 52.8705 | 1% | 47.0264 | 1% | 47.0264 | 1%
2020 | 94.8306 | -2.624% | 84.279 | -6.853% | 53.3992 | 0.6% | 53.3992 | 0.6% | 47.4967 | 0.6% | 47.4967 | 0.6%
2021 | 92.3426 | -1.692% | 78.503 | -5.62% | 53.7196 | 0.6% | 53.7196 | 0.6% | 47.7817 | 0.6% | 47.7817 | 0.6%
2022 | 90.78 | -1.091% | 74.0912 | -4.608% | 54.0419 | 0.6% | 54.0419 | 0.6% | 48.0684 | 0.6% | 48.0684 | 0.6%
2023 | 89.7892 | -0.704% | 70.6769 | -3.779% | 54.3662 | 0.6% | 54.3662 | 0.6% | 48.3568 | 0.6% | 48.3568 | 0.6%
2024 | 89.1571 | -0.4541% | 68.0062 | -3.099% | 54.6924 | 0.6% | 54.6924 | 0.6% | 48.6469 | 0.6% | 48.6469 | 0.6%
2025 | 88.7522 | -0.2929% | 65.8989 | -2.541% | 55.0205 | 0% | 55.0205 | 1% | 48.9388 | 0% | 48.9388 | 1%
2026 | 88.4923 | -0.1889% | 64.2245 | -2.084% | 55.0205 | 0% | 55.5707 | 1% | 48.9388 | 0% | 49.4282 | 1%
2027 | 88.3251 | -0.1218% | 62.8864 | -1.708% | 55.0205 | 0% | 56.1264 | 1% | 48.9388 | 0% | 49.9225 | 1%
2028 | 88.2175 | -0.07859% | 61.812 | -1.401% | 55.0205 | 0% | 56.6877 | 1% | 48.9388 | 0% | 50.4217 | 1%
2029 | 88.1481 | -0.05069% | 60.9461 | -1.149% | 55.0205 | 0% | 57.2546 | 1% | 48.9388 | 0% | 50.9259 | 1%
2030 | 88.1035 | -0.0327% | 60.2459 | -0.942% | 55.0205 | 0% | 57.8271 | 1% | 48.9388 | 0% | 51.4352 | 1%
2031 | 88.0747 | -0.02109% | 59.6784 | -0.7724% | 55.0205 | 0% | 58.4054 | 1% | 48.9388 | 0% | 51.9495 | 1%
2032 | 88.0561 | -0.0136% | 59.2174 | -0.6334% | 55.0205 | 0% | 58.9894 | 1% | 48.9388 | 0% | 52.469 | 1%
2033 | 88.0441 | -0.008773% | 58.8423 | -0.5194% | 55.0205 | 0% | 59.5793 | 1% | 48.9388 | 0% | 52.9937 | 1%
2034 | 88.0364 | -0.005659% | 58.5367 | -0.4259% | 55.0205 | 0% | 60.1751 | 1% | 48.9388 | 0% | 53.5236 | 1%
2035 | 88.0314 | -0.00365% | 58.2874 | -0.3492% | 55.0205 | 0% | 60.7769 | 1% | 48.9388 | 0% | 54.0589 | 1%
2036 | 88.0282 | -0.002354% | 58.0839 | -0.2864% | 55.0205 | 0% | 61.3846 | 1% | 48.9388 | 0% | 54.5995 | 1%
2037 | 88.0261 | -0.001518% | 57.9175 | -0.2348% | 55.0205 | 0% | 61.9985 | 1% | 48.9388 | 0% | 55.1455 | 1%
2038 | 88.0248 | -0.0009794% | 57.7815 | -0.1926% | 55.0205 | 0% | 62.6185 | 1% | 48.9388 | 0% | 55.6969 | 1%
2039 | 88.0239 | -0.0006317% | 57.6703 | -0.1579% | 55.0205 | 0% | 63.2447 | 1% | 48.9388 | 0% | 56.2539 | 1%
2040 | 88.0234 | -0.0004075% | 57.5792 | -0.1295% | 55.0205 | 0% | 63.8771 | 1% | 48.9388 | 0% | 56.8164 | 1%
2041 | 88.023 | -0.0002628% | 57.5046 | -0.1062% | 55.0205 | 0% | 64.5159 | 1% | 48.9388 | 0% | 57.3846 | 1%
2042 | 88.0228 | -0.0001695% | 57.4436 | -0.08706% | 55.0205 | 0% | 65.161 | 1% | 48.9388 | 0% | 57.9584 | 1%
Decay |  | 64.5% |  | 82%
Target | 87.7037 |  | 58.4691
Notes:
All solar cost values in $2017 Canadian dollars
Source of initial solar costs: NREL U.S. Solar Photovoltaic System Cost Benchmark: Q1 2017
Electricity prices grow at 1.0% or 0.0% real
The "decay" value alters the decline in price in order to hit the target value in 2040

## 100MW
Large Industrial Rates - 100 MW PV
| 100 MW - Cranbrook - High |  | 100 MW - Cranbrook - Low |  | 1823A-0% |  | 1823A-1% |  | 1823B-0% |  | 1823B-1%
| UEC-POI | Decline | UEC-POI | Decline | UEC-POI | Inflation | UEC-POI | Inflation | UEC-POI | Inflation | UEC-POI | Inflation
Year | $/MWh | -15.16% | $/MWh | -15.16% | $/MWh | 0% | $/MWh | 1% | $/MWh | 0% | $/MWh | 1%
2017 | 78.8202 | -9.853% | 78.8202 | -12.43% | 51.0678 | 2% | 51.0678 | 2% | 45.423 | 2% | 45.423 | 2%
2018 | 71.0541 | -6.404% | 69.0229 | -10.19% | 52.0892 | 1.5% | 52.0892 | 1.5% | 46.3315 | 1.5% | 46.3315 | 1.5%
2019 | 66.5034 | -4.163% | 61.9877 | -8.358% | 52.8705 | 1% | 52.8705 | 1% | 47.0264 | 1% | 47.0264 | 1%
2020 | 63.735 | -2.706% | 56.8068 | -6.853% | 53.3992 | 0.6% | 53.3992 | 0.6% | 47.4967 | 0.6% | 47.4967 | 0.6%
2021 | 62.0104 | -1.759% | 52.9136 | -5.62% | 53.7196 | 0.6% | 53.7196 | 0.6% | 47.7817 | 0.6% | 47.7817 | 0.6%
2022 | 60.9197 | -1.143% | 49.9399 | -4.608% | 54.0419 | 0.6% | 54.0419 | 0.6% | 48.0684 | 0.6% | 48.0684 | 0.6%
2023 | 60.2233 | -0.7431% | 47.6386 | -3.779% | 54.3662 | 0.6% | 54.3662 | 0.6% | 48.3568 | 0.6% | 48.3568 | 0.6%
2024 | 59.7757 | -0.483% | 45.8384 | -3.099% | 54.6924 | 0.6% | 54.6924 | 0.6% | 48.6469 | 0.6% | 48.6469 | 0.6%
2025 | 59.487 | -0.314% | 44.4181 | -2.541% | 55.0205 | 0% | 55.0205 | 1% | 48.9388 | 0% | 48.9388 | 1%
2026 | 59.3003 | -0.2041% | 43.2895 | -2.084% | 55.0205 | 0% | 55.5707 | 1% | 48.9388 | 0% | 49.4282 | 1%
2027 | 59.1792 | -0.1326% | 42.3875 | -1.708% | 55.0205 | 0% | 56.1264 | 1% | 48.9388 | 0% | 49.9225 | 1%
2028 | 59.1007 | -0.08622% | 41.6633 | -1.401% | 55.0205 | 0% | 56.6877 | 1% | 48.9388 | 0% | 50.4217 | 1%
2029 | 59.0498 | -0.05604% | 41.0797 | -1.149% | 55.0205 | 0% | 57.2546 | 1% | 48.9388 | 0% | 50.9259 | 1%
2030 | 59.0167 | -0.03643% | 40.6077 | -0.942% | 55.0205 | 0% | 57.8271 | 1% | 48.9388 | 0% | 51.4352 | 1%
2031 | 58.9952 | -0.02368% | 40.2252 | -0.7724% | 55.0205 | 0% | 58.4054 | 1% | 48.9388 | 0% | 51.9495 | 1%
2032 | 58.9812 | -0.01539% | 39.9145 | -0.6334% | 55.0205 | 0% | 58.9894 | 1% | 48.9388 | 0% | 52.469 | 1%
2033 | 58.9721 | -0.01% | 39.6617 | -0.5194% | 55.0205 | 0% | 59.5793 | 1% | 48.9388 | 0% | 52.9937 | 1%
2034 | 58.9662 | -0.006503% | 39.4557 | -0.4259% | 55.0205 | 0% | 60.1751 | 1% | 48.9388 | 0% | 53.5236 | 1%
2035 | 58.9624 | -0.004227% | 39.2877 | -0.3492% | 55.0205 | 0% | 60.7769 | 1% | 48.9388 | 0% | 54.0589 | 1%
2036 | 58.9599 | -0.002747% | 39.1504 | -0.2864% | 55.0205 | 0% | 61.3846 | 1% | 48.9388 | 0% | 54.5995 | 1%
2037 | 58.9583 | -0.001786% | 39.0383 | -0.2348% | 55.0205 | 0% | 61.9985 | 1% | 48.9388 | 0% | 55.1455 | 1%
2038 | 58.9572 | -0.001161% | 38.9467 | -0.1926% | 55.0205 | 0% | 62.6185 | 1% | 48.9388 | 0% | 55.6969 | 1%
2039 | 58.9566 | -0.0007545% | 38.8717 | -0.1579% | 55.0205 | 0% | 63.2447 | 1% | 48.9388 | 0% | 56.2539 | 1%
2040 | 58.9561 | -0.0004904% | 38.8103 | -0.1295% | 55.0205 | 0% | 63.8771 | 1% | 48.9388 | 0% | 56.8164 | 1%
2041 | 58.9558 | -0.0003188% | 38.76 | -0.1062% | 55.0205 | 0% | 64.5159 | 1% | 48.9388 | 0% | 57.3846 | 1%
2042 | 58.9556 | -0.0002072% | 38.7189 | -0.08706% | 55.0205 | 0% | 65.161 | 1% | 48.9388 | 0% | 57.9584 | 1%
Decay |  | 65% |  | 82%
Target | 59.1152 |  | 39.4101
Notes:
All solar cost values in $2017 Canadian dollars
Source of initial solar costs: NREL U.S. Solar Photovoltaic System Cost Benchmark: Q1 2017
Electricity prices grow at 1.0% or 0.0% real
The "decay" value alters the decline in price in order to hit the target value in 2040